JVO MANAGEMENT

Ackroyd Court                         BELVEDERE

# VOICE: (718) 297-4895, FAX: (718) 658-4833

E-MAIL: INFO@JVOVRT.COM   WWW.JVOVRT.COM

H  E  A  T  I  N  G    B  U  L  L  E  T  I  N

DURING THE HEATING SEASON, OCTOBER 1ST UNTIL MAY 31ST, THE FOLLOWING HEATING LAW IS IN EFFECT:

BETWEEN 6:00 AM TO 10:00 PM, THE TEMPERATURE IN THE APARTMENT SHOULD BE AT LEAST 68 DEGREES

IF THE OUTSIDE TEMPERATURE FALLS BELOW 55 DEGREES.

DURING 10:00 PM TO 6:00 AM AT LEAST 55 DEGREES

IF THE OUTSIDE TEMPERATURE FALLS BELOW 40 DEGREES.

OUR BOILER IS COMPUTER CONTROLLED. IT RUNS AUTOMATICALLY SO THAT THE LEGAL TEMPERATURES ARE ALWAYS MET.

IF YOU EXPERIENCE A SITUATION WHERE YOU THINK YOUR APARTMENT IS NOT PROPERLY HEATED PLEASE CHECK THE FOLLOWING:

1. RADIATOR VALVE MUST BE COMPLETELY OPEN

(THE VALVE THAT SITS ON TOP OF THE PIPE GOING INTO THE FLOOR )

2. ALL WINDOWS ARE PROPERLY CLOSED

(THE UPPER AND LOWER SASH HAVE TO ALIGN PROPERLY AND THE LOCK SECURED,

SLIGHTLY OPEN WINDOWS CREATE DRAFTS THAT SUCK OUT HOT AIR AND CAN REDUCE THE TEMPERATURE IN YOUR APARTMENT BY AS MUCH AS 5 DEGREES)

IF IT STILL SEEMS COLD - CALL US IMMEDIATELY

OFFICE:297-4895, SUPER: 917-847-2406

OR FILL OUT MAINTENANCE REQUEST

WE WANT YOU TO FEEL COMFORTABLE DURING THE COLD SEASON - HOWEVER PLEASE UNDERSTAND WE CANNOT RECREATE SUMMER.

WE WILL FOLLOW AND SURPASS THE TEMPERATURES AS REQUIRED BY LAW.